Energy Simulation Result is given below:

Table 29: Energy Simulation Assessment

Based on the above Energy Simulation Assessment, the projected generation for 25 years is given below:

Table 30: Projected Generation from Solar Plant

Our Comments:

We have been provided with PVsyst report for review and after detailed desktop review our findings are listed below:

Overall performance of the plant seems to be maintained over the next 25 years.

For Solar Energy Assessment, weather data source from SolarGIS has been used.

LSI has done a review of the considered losses and unavailability factors for the generation estimates.

Generation Estimates on P90 (1496.10 GWh) and DC PLF of 20.33% seems to be achievable with smooth operations of the trackers.

Year on year will be 0.42% degradation as per the document provided by company.

Project Infrastructure Integration